{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"images":1,"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":26,"n_cols":6,"rows_kept":26,"merged":[[0,0,0,5],[22,0,23,5],[25,0,25,5]],"flags":["formulas_cached_only"]}
["进港新建雨棚项目询价清单"]
["编制依据：投影面积：24*4=96平方"]
["序号","分部分项","单位","工程量","单价（元）","合计(元)"]
["一","膜材"]
[1,"1100克（PVDF国产高品质)膜布","㎡",96]
[2,"膜布剪裁、安装和附件","项",1]
["二","钢结构"]
[1,"大梁：380*120*10","T",0.85]
[2,"横拉管及支撑杆：φ89x3mm钢管","T",0.61]
[3,"钢结构制作、安装（切割费、除锈费、拼装费、焊接费）","T",1.46]
[]
["三","安装制作材料、工具损耗费"]
[1,"焊条、切片、磨片、氧气、乙炔工具等设备损耗","项",1]
[2,"压膜板","根",18]
[3,"螺丝、瓦钉等","项",1]
[4,"安装","项",1]
["四","材料运输及建筑垃圾清运"]
[1,"材料运输及建筑垃圾清运","项",1]
[]
["五","小计"]
["六","税金"]
["七","总造价"]
["注：1、由甲方免费提供施工场地和用电。膜材保修5年以上。 2、本次报价需提供增值税专用发票，其他应注意事项请投标单位根据现场情况考虑，该报价后期不予调整。"]
[]
[]
["参考图例"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}